## telegrams
field | value | src | dest | type-id | offset | data | telegram
/dhwCircuits/dhw1/charge | 0 | 48 | 10 | 2F5 | 0B | 0 | 48 10 FF 0B 01 F5 00 51
/dhwCircuits/dhw1/chargeDuration | 120 | 48 | 10 | 2F5 | 0A | 8 | 48 10 FF 0A 01 F5 08 51
/dhwCircuits/dhw1/operationMode | 4 | 48 | 10 | 2F5 | 2 | 4 | 48 10 FF 02 01 F5 04 1D
/dhwCircuits/dhw1/singleChargeSetpoint | 60 | 48 | 8 | EA | 10 | 3C | 48 08 EA 10 3C 3B
/dhwCircuits/dhw1/switchPrograms/A | [{"dayOfWeek":"Mo","setpoint":"high","time":375},{"dayOfWeek":"Mo","setpoint":"low","time":1380},{"dayOfWeek":"Tu","setpoint":"high","time":375},{"dayOfWeek":"Tu","setpoint":"low","time":1380},{"dayOfWeek":"We","setpoint":"high","time":375},{"dayOfWeek":"We","setpoint":"low","time":1380},{"dayOfWeek":"Th","setpoint":"high","time":375},{"dayOfWeek":"Th","setpoint":"low","time":1380},{"dayOfWeek":"Fr","setpoint":"high","time":375},{"dayOfWeek":"Fr","setpoint":"low","time":1380},{"dayOfWeek":"Sa","setpoint":"high","time":375},{"dayOfWeek":"Sa","setpoint":"low","time":1380},{"dayOfWeek":"Su","setpoint":"high","time":375},{"dayOfWeek":"Su","setpoint":"low","time":1380}] | 48 | 10 | 2FF | 0 | 02 19 01 5C FF FF FF FF FF FF FF FF | 48 10 FF 00 01 FF 02 19 01 5C FF FF FF FF FF FF FF FF BF
/dhwCircuits/dhw1/temperatureLevels/high | 52 | 48 | 8 | EA | 6 | 34 | 48 08 EA 06 34 1F
/dhwCircuits/dhw1/temperatureLevels/low | 42 | 48 | 8 | EA | 12 | 2A | 48 08 EA 12 2A 29
/gateway/DateTime | 2021-08-27T17:21:25 | 48 | 10 | 6 | 0 | 15 08 11 1B 15 19 | 48 10 06 00 15 08 11 1B 15 19 C2
/gateway/instAccess | 0 | [5 empty] | <empty>
/gateway/instWriteAccess | 0 | [5 empty] | <empty>
/gateway/logging/userAcceptance | 0 | [5 empty] | <empty>
/heatSources/energyMonitoring/consumption | 29296668 | [5 empty] | <empty>
/heatSources/energyMonitoring/correctionFactor | 1 | [5 empty] | <empty>
/heatSources/energyMonitoring/maxTankLevel | 0 | [5 empty] | <empty>
/heatSources/energyMonitoring/minTankLevel | 0 | [5 empty] | <empty>
/heatSources/energyMonitoring/tankLevel | 0 | [5 empty] | <empty>
/heatingCircuits/hc1/activeSwitchProgram | 0 | 48 | 10 | 2B9 | 0B | 1 | 48 10 FF 0B 01 B9 01 C8
/heatingCircuits/hc1/fastHeatupFactor | 20 | 48 | 10 | 2AF | 0A | 14 | 48 10 FF 0A 01 AF 14 F9
/heatingCircuits/hc1/operationMode | 0 | 48 | 10 | 2B9 | 0 | FF | 48 10 FF 00 01 B9 FF 6E
/heatingCircuits/hc1/suWiSwitchMode | 0 | 48 | 10 | 2AF | 7 | 0 | 48 10 FF 07 01 AF 00 85
/heatingCircuits/hc1/switchProgramMode | 0 | 48 | 10 | 2B9 | 13 | 1 | 48 10 FF 13 01 B9 01 08
/heatingCircuits/hc1/switchPrograms/A | [{"dayOfWeek":"Mo","setpoint":"comfort2","time":300},{"dayOfWeek":"Mo","setpoint":"eco","time":1320},{"dayOfWeek":"Tu","setpoint":"comfort2","time":300},{"dayOfWeek":"Tu","setpoint":"eco","time":1320},{"dayOfWeek":"We","setpoint":"comfort2","time":300},{"dayOfWeek":"We","setpoint":"eco","time":1320},{"dayOfWeek":"Th","setpoint":"comfort2","time":300},{"dayOfWeek":"Th","setpoint":"eco","time":1320},{"dayOfWeek":"Fr","setpoint":"comfort2","time":300},{"dayOfWeek":"Fr","setpoint":"eco","time":1350},{"dayOfWeek":"Sa","setpoint":"comfort2","time":300},{"dayOfWeek":"Sa","setpoint":"eco","time":1350},{"dayOfWeek":"Su","setpoint":"comfort2","time":300},{"dayOfWeek":"Su","setpoint":"eco","time":1320}] | 48 | 10 | 2C3 | 0 | 03 14 01 58 FF FF FF FF FF FF FF FF | 48 10 FF 00 01 C3 03 14 01 58 FF FF FF FF FF FF FF FF 27
/heatingCircuits/hc1/switchPrograms/B | [{"dayOfWeek":"Mo","setpoint":"eco","time":0},{"dayOfWeek":"Tu","setpoint":"eco","time":0},{"dayOfWeek":"We","setpoint":"eco","time":0},{"dayOfWeek":"Th","setpoint":"eco","time":0},{"dayOfWeek":"Fr","setpoint":"eco","time":0},{"dayOfWeek":"Sa","setpoint":"eco","time":0},{"dayOfWeek":"Su","setpoint":"eco","time":0}] | 48 | 10 | 449 | 0 | 01 00 FF FF FF FF FF FF FF FF FF FF | 48 10 FF 00 03 49 01 00 FF FF FF FF FF FF FF FF FF FF D6
/heatingCircuits/hc1/temperatureLevels/comfort2 | 22 | 48 | 10 | 2B9 | 2 | 2C | 48 10 FF 02 01 B9 2C AD
/heatingCircuits/hc1/temperatureLevels/eco | 19 | 48 | 10 | 2B9 | 4 | 26 | 48 10 FF 04 01 B9 26 97
/heatingCircuits/hc1/temporaryRoomSetpoint | -1 | 48 | 10 | 2B9 | 8 | FF | 48 10 FF 08 01 B9 FF 2E
/heatingCircuits/hc2/activeSwitchProgram | 0 | 48 | 10 | 2BA | 0B | 1 | 48 10 FF 0B 01 BA 01 CE
/heatingCircuits/hc2/operationMode | 0 | 48 | 10 | 2BA | 0 | FF | 48 10 FF 00 01 BA FF 68
/heatingCircuits/hc2/suWiSwitchMode | 0 | 48 | 10 | 2B0 | 7 | 0 | 48 10 FF 07 01 B0 00 BB
/heatingCircuits/hc2/switchProgramMode | 0 | 48 | 10 | 2BA | 13 | 1 | 48 10 FF 13 01 BA 01 0E
/heatingCircuits/hc2/switchPrograms/A | [{"dayOfWeek":"Mo","setpoint":"comfort2","time":360},{"dayOfWeek":"Mo","setpoint":"eco","time":1200},{"dayOfWeek":"Tu","setpoint":"comfort2","time":300},{"dayOfWeek":"Tu","setpoint":"eco","time":1200},{"dayOfWeek":"We","setpoint":"comfort2","time":300},{"dayOfWeek":"We","setpoint":"eco","time":1200},{"dayOfWeek":"Th","setpoint":"comfort2","time":300},{"dayOfWeek":"Th","setpoint":"eco","time":1200},{"dayOfWeek":"Fr","setpoint":"comfort2","time":300},{"dayOfWeek":"Fr","setpoint":"eco","time":1200},{"dayOfWeek":"Sa","setpoint":"comfort2","time":300},{"dayOfWeek":"Sa","setpoint":"eco","time":1200},{"dayOfWeek":"Su","setpoint":"comfort2","time":300},{"dayOfWeek":"Su","setpoint":"eco","time":1200}] | 48 | 10 | 2C4 | 0 | 03 18 01 50 FF FF FF FF FF FF FF FF | 48 10 FF 00 01 C4 03 18 01 50 FF FF FF FF FF FF FF FF F9
/heatingCircuits/hc2/switchPrograms/B | [{"dayOfWeek":"Mo","setpoint":"eco","time":0},{"dayOfWeek":"Tu","setpoint":"eco","time":0},{"dayOfWeek":"We","setpoint":"eco","time":0},{"dayOfWeek":"Th","setpoint":"eco","time":0},{"dayOfWeek":"Fr","setpoint":"eco","time":0},{"dayOfWeek":"Sa","setpoint":"eco","time":0},{"dayOfWeek":"Su","setpoint":"eco","time":0}] | 48 | 10 | 44A | 0 | 01 00 FF FF FF FF FF FF FF FF FF FF | 48 10 FF 00 03 4A 01 00 FF FF FF FF FF FF FF FF FF FF 54
/heatingCircuits/hc2/temperatureLevels/comfort2 | 22 | 48 | 10 | 2BA | 2 | 2C | 48 10 FF 02 01 BA 2C AB
/heatingCircuits/hc2/temperatureLevels/eco | 19 | 48 | 10 | 2BA | 4 | 26 | 48 10 FF 04 01 BA 26 91
/heatingCircuits/hc2/temporaryRoomSetpoint | -1 | 48 | 10 | 2BA | 8 | FF | 48 10 FF 08 01 BA FF 28
/system/holidayModes/hm1/dhwMode | 0 | 48 | 10 | 269 | 8 | 2 | 48 10 FF 08 01 69 02 6A
/system/holidayModes/hm1/hcMode | 3 | 48 | 10 | 269 | 6 | 4 | 48 10 FF 06 01 69 04 1C
/system/holidayModes/hm1/startStop | 2009-01-01/2009-01-01 | 48 | 10 | 269 | 0 | 09 01 01 09 01 01 | 48 10 FF 00 01 69 09 01 01 09 01 01 7B
/system/holidayModes/hm2/dhwMode | 0 | 48 | 10 | 26A | 8 | 2 | 48 10 FF 08 01 6A 02 6C
/system/holidayModes/hm2/hcMode | 3 | 48 | 10 | 26A | 6 | 4 | 48 10 FF 06 01 6A 04 1A
/system/holidayModes/hm2/startStop | 2009-01-01/2009-01-01 | 48 | 10 | 26A | 0 | 09 01 01 09 01 01 | 48 10 FF 00 01 6A 09 01 01 09 01 01 BB
/system/holidayModes/hm3/dhwMode | 0 | 48 | 10 | 26B | 8 | 2 | 48 10 FF 08 01 6B 02 6E
/system/holidayModes/hm3/hcMode | 3 | 48 | 10 | 26B | 6 | 4 | 48 10 FF 06 01 6B 04 18
/system/holidayModes/hm3/startStop | 2009-01-01/2009-01-01 | 48 | 10 | 26B | 0 | 09 01 01 09 01 01 | 48 10 FF 00 01 6B 09 01 01 09 01 01 FB
/system/holidayModes/hm4/dhwMode | 0 | 48 | 10 | 26C | 8 | 2 | 48 10 FF 08 01 6C 02 60
/system/holidayModes/hm4/hcMode | 3 | 48 | 10 | 26C | 6 | 4 | 48 10 FF 06 01 6C 04 16
/system/holidayModes/hm4/startStop | 2009-01-01/2009-01-01 | 48 | 10 | 26C | 0 | 09 01 01 09 01 01 | 48 10 FF 00 01 6C 09 01 01 09 01 01 22
/system/holidayModes/hm5/dhwMode | 0 | 48 | 10 | 26D | 8 | 2 | 48 10 FF 08 01 6D 02 62
/system/holidayModes/hm5/hcMode | 3 | 48 | 10 | 26D | 6 | 4 | 48 10 FF 06 01 6D 04 14
/system/holidayModes/hm5/startStop | 2009-01-01/2009-01-01 | 48 | 10 | 26D | 0 | 09 01 01 09 01 01 | 48 10 FF 00 01 6D 09 01 01 09 01 01 62
/system/minOutdoorTemp | -10 | [5 empty] | <empty>
boiler.wwactivated | 1 | 0B | 8 | EA | 1 | 1 | 0B 08 EA 01 01 70
boiler.wwcirc | 0 | 0B | 8 | 35 | 1 | 2 | 0B 08 35 01 02 24
boiler.wwcircmode | 2 | 0B | 8 | EA | 0B | 2 | 0B 08 EA 0B 02 67
boiler.wwcircpump | 1 | 0B | 8 | EA | 0A | 1 | 0B 08 EA 0A 01 66
boiler.wwdisinfectiontemp | 75 | 0B | 8 | EA | 0C | 4B | 0B 08 EA 0C 4B 20
boiler.wwhystoff | 0 | 0B | 8 | EA | 8 | 0 | 0B 08 EA 08 00 63
boiler.wwhyston | -6 | 0B | 8 | EA | 7 | FA | 0B 08 EA 07 FA 87
boiler.wwonetime | 0 | 0B | 8 | 35 | 0 | 2 | 0B 08 35 00 02 26
boiler.wwseltemp | 60 | 0B | 8 | EA | 6 | 3C | 0B 08 EA 06 3C 43
boiler.wwseltemplow | 42 | 0B | 8 | EA | 12 | 2A | 0B 08 EA 12 2A 7D
boiler.wwseltempsingle | 60 | 0B | 8 | EA | 10 | 3C | 0B 08 EA 10 3C 6F
thermostat.wwchargeduration | 8 | 0B | 10 | 2F5 | 0A | 8 | 0B 10 FF 0A 01 F5 08 18
thermostat.wwcircmode | 0 | 0B | 10 | 2F5 | 3 | 0 | 0B 10 FF 03 01 F5 00 58
thermostat.wwmode | 4 | 0B | 10 | 2F5 | 2 | 4 | 0B 10 FF 02 01 F5 04 54
boiler.boilhystoff | 10 | 0B | 8 | E6 | 8 | 0A | 0B 08 E6 08 0A 59
boiler.boilhyston | -6 | 0B | 8 | E6 | 9 | FA | 0B 08 E6 09 FA AB
boiler.burnmaxpower | 60 | 0B | 8 | E6 | 4 | 3C | 0B 08 E6 04 3C 77
boiler.burnminperiod | 15 | 0B | 8 | E6 | 0A | 0F | 0B 08 E6 0A 0F 58
boiler.burnminpower | 18 | 0B | 8 | E6 | 5 | 12 | 0B 08 E6 05 12 5B
boiler.heatingactivated | 1 | 0B | 8 | E6 | 5 | 12 | 0B 08 E6 05 12 5B
boiler.heatingtemp | 80 | 0B | 8 | E6 | 1 | 50 | 0B 08 E6 01 50 11
boiler.maintenance | 1 | 0B | 8 | 15 | 0 | 1 | 0B 08 15 00 01 A5
boiler.maintenancetime | 6000 | 0B | 8 | 15 | 0 | 01 3C | 0B 08 15 00 01 3C 6F
boiler.selburnpow | 0 | 0B | 8 | 1A | 1 | 0 | 0B 08 1A 01 00 9A
boiler.selflowtemp | 11 | 0B | 8 | 1A | 0 | 0B | 0B 08 1A 00 0B 93
thermostat.building | 1 | 0B | 10 | 240 | 9 | 2 | 0B 10 FF 09 01 40 02 79
thermostat.datetime | 2021-08-27 17:25 | 0B | 10 | 6 | 0 | 15 08 11 1B 19 1C 48 7F | 0B 10 06 00 15 08 11 1B 19 1C 48 7F 49
thermostat.hc1.comforttemp | 22 | 0B | 10 | 2B9 | 2 | 2C | 0B 10 FF 02 01 B9 2C E4
thermostat.hc1.controlmode | 1 | 0B | 10 | 29B | 0 | 1 | 0B 10 FF 00 01 9B 01 9D
thermostat.hc1.designtemp | 42 | 0B | 10 | 2AF | 4 | 2A | 0B 10 FF 04 01 AF 2A FE
thermostat.hc1.ecotemp | 19 | 0B | 10 | 2B9 | 4 | 26 | 0B 10 FF 04 01 B9 26 DE
thermostat.hc1.manualtemp | 16 | 0B | 10 | 2B9 | 0A | 20 | 0B 10 FF 0A 01 B9 20 A8
thermostat.hc1.maxflowtemp | 45 | 0B | 10 | 2B9 | 0A | 20 | 0B 10 FF 0A 01 B9 20 A8
thermostat.hc1.minflowtemp | 35 | 0B | 10 | 2AF | 8 | 23 | 0B 10 FF 08 01 AF 23 97
thermostat.hc1.mode | 1 | 0B | 10 | 2B9 | 0 | FF | 0B 10 FF 00 01 B9 FF 27
thermostat.hc1.nofrosttemp | -5 | 0B | 10 | 29B | 6 | FB | 0B 10 FF 06 01 9B FB 57
thermostat.hc1.offsettemp | 0 | 0B | 10 | 2AF | 2 | 0 | 0B 10 FF 02 01 AF 00 E4
thermostat.hc1.program | 1 | 0B | 10 | 2B9 | 0B | 1 | 0B 10 FF 0B 01 B9 01 81
thermostat.hc1.roominfluence | 0 | 0B | 10 | 2AF | 0 | 0 | 0B 10 FF 00 01 AF 00 F4
thermostat.hc1.seltemp | 22 | 0B | 10 | 2B9 | 8 | 2C | 0B 10 FF 08 01 B9 2C B4
thermostat.hc1.summersetmode | 0 | 0B | 10 | 2AF | 7 | 0 | 0B 10 FF 07 01 AF 00 CC
thermostat.hc1.summertemp | 16 | 0B | 10 | 2AF | 6 | 10 | 0B 10 FF 06 01 AF 10 D4
thermostat.hc1.tempautotemp | 22 | 0B | 10 | 2B9 | 8 | 2C | 0B 10 FF 08 01 B9 2C B4
thermostat.hc2.comforttemp | 22 | 0B | 10 | 2BA | 2 | 2C | 0B 10 FF 02 01 BA 2C E2
thermostat.hc2.controlmode | 1 | 0B | 10 | 29C | 0 | 1 | 0B 10 FF 00 01 9C 01 93
thermostat.hc2.designtemp | 42 | 0B | 10 | 2B0 | 5 | 2A | 0B 10 FF 05 01 B0 2A C8
thermostat.hc2.ecotemp | 19 | 0B | 10 | 2BA | 4 | 26 | 0B 10 FF 04 01 BA 26 D8
thermostat.hc2.manualtemp | 21 | 0B | 10 | 2BA | 0A | 2A | 0B 10 FF 0A 01 BA 2A A4
thermostat.hc2.maxflowtemp | 45 | 0B | 10 | 29C | 7 | 2D | 0B 10 FF 07 01 9C 2D 87
thermostat.hc2.minflowtemp | 25 | 0B | 10 | 2B0 | 8 | 19 | 0B 10 FF 08 01 B0 19 93
thermostat.hc2.mode | 1 | 0B | 10 | 2BA | 0 | FF | 0B 10 FF 00 01 BA FF 21
thermostat.hc2.nofrosttemp | -5 | 0B | 10 | 29C | 6 | FB | 0B 10 FF 06 01 9C FB 59
thermostat.hc2.offsettemp | 0 | 0B | 10 | 2B0 | 2 | 0 | 0B 10 FF 02 01 B0 00 DA
thermostat.hc2.program | 1 | 0B | 10 | 2BA | 0B | 1 | 0B 10 FF 0B 01 BA 01 87
thermostat.hc2.roominfluence | 6 | 0B | 10 | 2B0 | 0 | 6 | 0B 10 FF 00 01 B0 06 CC
thermostat.hc2.seltemp | 22 | 0B | 10 | 2BA | 8 | 2C | 0B 10 FF 08 01 BA 2C B2
thermostat.hc2.summersetmode | 0 | 0B | 10 | 2B0 | 7 | 0 | 0B 10 FF 07 01 B0 00 F2
thermostat.hc2.summertemp | 16 | 0B | 10 | 2B0 | 6 | 10 | 0B 10 FF 06 01 B0 10 EA
thermostat.hc2.tempautotemp | 0 | 0B | 10 | 2BA | 8 | 0 | 0B 10 FF 08 01 BA 00 9E
thermostat.minexttemp | -10 | 0B | 10 | 240 | 0A | F6 | 0B 10 FF 0A 01 40 F6 95