## Greenstar 30ri device_entities
Entity Name;Value;UoM
Reset;;
heating active;off;
tapwater active;off;
selected flow temperature;5;Â°C
burner selected max power;0;%
heating pump modulation;10;%
current flow temperature;52.7;Â°C
return temperature;50.6;Â°C
mixing switch temperature;0;Â°C
system pressure;0;bar
actual boiler temperature;58.5;Â°C
gas;off;
gas stage 2;off;
flame current;0;uA
heating pump;on;
fan;off;
ignition;off;
oil preheating;off;
heating activated;on;
heating temperature;62;Â°C
boiler pump max power;100;%
boiler pump min power;10;%
pump delay;3;minutes
burner min period;5;minutes
burner min power;0;%
burner max power;100;%
hysteresis on temperature;-3;Â°C
hysteresis off temperature;3;Â°C
burner current power;0;%
burner starts;18 | 033;
total burner operating time;432 | 971;minutes
burner stage 2 operating time;0;minutes
total heat operating time;432 | 971;minutes
total UBA operating time;3 | 416 | 358;minutes
service code number;203;
maintenance message;H00;
maintenance scheduled;off;
time to next maintenance;6 | 000;hours
next maintenance date;01.01.2009;
dhw selected temperature;60;Â°C
dhw type;off;
dhw comfort;hot;
dhw flow temperature offset;40;Â°C
dhw max power;100;%
dhw circulation pump available;off;
dhw charging type;3-way valve;
dhw hysteresis on temperature;-5;Â°C
dhw hysteresis off temperature;0;Â°C
dhw disinfection temperature;70;Â°C
dhw circulation pump mode;2x3min;
dhw circulation active;off;
dhw storage intern temperature;0;Â°C
dhw storage extern temperature;0;Â°C
dhw activated;off;
dhw 3-way valve active;off;
dhw mixer temperature;0;Â°C
dhw cylinder middle temperature (TS3);0;Â°C

## Sheet2
Entity Name | Value | UoM
Reset
heating active | off
tapwater active | off
selected flow temperature | 5 | Â°C
burner selected max power | 0 | %
heating pump modulation | 10 | %
current flow temperature | 52.7 | Â°C
return temperature | 50.6 | Â°C
mixing switch temperature | 0 | Â°C
system pressure | 0 | bar
actual boiler temperature | 58.5 | Â°C
gas | off
gas stage 2 | off
flame current | 0 | uA
heating pump | on
fan | off
ignition | off
oil preheating | off
heating activated | on
heating temperature | 62 | Â°C
boiler pump max power | 100 | %
boiler pump min power | 10 | %
pump delay | 3 | minutes
burner min period | 5 | minutes
burner min power | 0 | %
burner max power | 100 | %
hysteresis on temperature | -3 | Â°C
hysteresis off temperature | 3 | Â°C
burner current power | 0 | %
burner starts | 18033
total burner operating time | 432971 | minutes
burner stage 2 operating time | 0 | minutes
total heat operating time | 432971 | minutes
total UBA operating time | 3416358 | minutes
service code number | 203
maintenance message | H00
maintenance scheduled | off
time to next maintenance | 6000 | hours
next maintenance date | 01.01.2009
dhw selected temperature | 60 | Â°C
dhw type | off
dhw comfort | hot
dhw flow temperature offset | 40 | Â°C
dhw max power | 100 | %
dhw circulation pump available | off
dhw charging type | 3-way valve
dhw hysteresis on temperature | -5 | Â°C
dhw hysteresis off temperature | 0 | Â°C
dhw disinfection temperature | 70 | Â°C
dhw circulation pump mode | 2x3min
dhw circulation active | off
dhw storage intern temperature | 0 | Â°C
dhw storage extern temperature | 0 | Â°C
dhw activated | off
dhw 3-way valve active | off
dhw mixer temperature | 0 | Â°C
dhw cylinder middle temperature (TS3) | 0 | Â°C